Methanetriol (CH(OH)3) Experimental Plan as of 11/13/2023

|  |  | Photon Energy | Irrad. Time | Irrad. Current2 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Ice1 | (eV) | (min) | (nA) |  |  |
| 1 | CH3OH – O2 | 11.08 | 60 | 100 |  |
| 2 | CH3OH – O2 | 11.00 | 60 | 100 |  |
| 3 | CH3OH – O2 | 10.87 | 60 | 100 |  |
| 4 | CH3OH – O2 | 10.70 | 60 | 100 |  |  |
| 5 | CH3OH – O2 | 9.87 | 60 | 100 | 3 |  |
| 6 | CH3OH – O2 | 9.60 | 60 | 100 | 3 |  |
| 7 | CH3OH – O2 | 11.08 | – | – | 3 |  |
| 8 | CH3OH – O2 | 11.00 | 60 | 100 | 4 |  |
| 9 | CH3OH – O2 | 10.87 | 60 | 100 | 4 |  |
| 10 | CH3OH – O2 | 10.60 | 60 | 100 |  |  |
| 11 | CH3OH – O2 | 10.20 | 60 | 100 |  |  |

1 All ices will be co-deposited to a thickness of approximately 750 nm with equal partial  pressures of both components during deposition

2 If target molecules are not observed, experiments may be repeated with larger irradiation dose

3 No signal observed for any mass channel, data omitted from following figures

4 Repetition of prior experiment

Calculated ionization energy of  CH(OH)3. Gray rectangles represent an error of ±4 kJ mol-1. New experiments planned as of 11/13/23 are indicated by dashed lines.

This figure uses only raw data that have not had contamination subtracted. While the peak at 62 is similar to that at 64 amu, the peak at 64 is too intense to be accounted for by only contamination from 62. The scaling factor (1/17) used to subtract 62 amu contamination in the 64 TPD profile was determined by the change in scaling factor needed to account for contamination from 61 in the 63 (1/25) and 64 (1/30) mass channels. The 1/14 scaling factor was then multiplied by 30/25 to arrive at 1/17 for the upper panel. The 2D colored image provided by the multi-channel scaler makes it much clearer that there is a unique peak at 64, and will be included in any publication. 62 may be a fragment of 64.

These TPD profiles are the average of both experiments using 10.60 eV photons after corrections were applied to subtract contamination signal.